# Roof Estimate Reconciliation Memorandum

SYNTHETIC EXAMPLE - NOT FOR SUBMISSION

Case SYN-LOW-SLOPE | Comparison date 2026-09-21 | Technical estimate preparation

Please review the identified estimate differences and the outstanding evidence requests. The comparison is incomplete; no complete revision amount or payment request is stated.

The figures concern the specified construction work. They do not determine coverage or the amount currently payable.

# Estimates and record

| Role | Document | Version | Recorded date |
| --- | --- | --- | --- |
| baseline | D-4b7a6e9057262960-baseline | v1 | 2026-09-22 |
| proposed | D-ba2174ea0c6eca22-proposed | v1 | 2026-09-22 |

Confirm the date printed on each estimate. Intake receipt dates alone do not establish its pricing date.

Pricing context: Synthetic Phoenix setting; no market prices supplied; list not supplied; month not supplied.

# Discrepancy schedule

| Issue | Existing | Proposed | Change |
| --- | --- | --- | --- |
| I-001 | $1,000.00 | $1,500.00 | $500.00 |
| I-002 | $180.00 | $180.00 | $0.00 |
| I-003 | Unknown | Unknown | Unknown |

# I-001 Compatible membrane repair

The synthetic damage map identifies six SQ within a compatible repair area.

The scenario supports a bounded repair; it does not establish the need for complete system replacement.

Comparison: The two lines describe the same synthetic operation, location and specification.

Calculation: $1,500.00 less $1,000.00 = $500.00.

Attribution: quantity $500.00.

Evidence: E-BASE, E-PROP, E-NOTES.

Competing explanation: Maintenance, ponding or a smaller patch may explain the condition.

Response or concession: The fictional evidence stipulates the six SQ repair area. A real case needs system identification and causation evidence.

Requested action: Review repair of the documented six SQ area.

Scope: supported. Coverage: unknown.

# I-002 Drain flashing repair

One affected drain detail is identified in both fictional estimates.

The same operation is priced once on each side.

Comparison: The two lines describe the same synthetic operation, location and specification.

Calculation: $180.00 less $180.00 = $0.00.

Evidence: E-BASE, E-PROP, E-NOTES.

Competing explanation: Drain cleaning may be maintenance rather than covered repair.

Response or concession: The fixture separates flashing repair from cleaning; no maintenance charge is added.

Requested action: Retain the existing drain-flashing repair.

Scope: supported. Coverage: unknown.

# I-003 Concealed substrate work

The substrate below the repair has not been exposed or measured.

There is insufficient evidence to revise the concealed-work quantity.

Comparison: The two lines describe the same synthetic operation, location and specification.

Amount held pending resolution of the identified inputs.

Evidence: E-BASE, E-PROP, E-NOTES.

Competing explanation: The material may be sound or deteriorated for an unrelated reason.

Response or concession: Retain the uncertainty and request a focused inspection; do not convert an unknown quantity to zero.

Requested action: Obtain exposure photographs and a measured substrate assessment before pricing additional work.

Scope: needs_evidence. Coverage: unknown.

# Financial reconciliation

The direct-cost comparison and subsequent estimate adjustments are separate from policy settlement.

Baseline: direct costs Unknown; estimate total on the specified adjustment basis Unknown. Basis: no adjustments specified not verified zero.

Proposed: direct costs Unknown; estimate total on the specified adjustment basis Unknown. Basis: no adjustments specified not verified zero.

Payment scenario: not supplied or not calculable.

Amount currently payable: not determined.

Absent tax or markup inputs mean not specified, rather than verified zero. Any payment scenario is an explicit calculation supplied for review; it is not a coverage decision.

# Open items and next action

line:P3:quantity: Missing or ambiguous number is held and never zero-filled.

line:P3:reported_total: Missing or ambiguous number is held and never zero-filled.

document:D-ba2174ea0c6eca22-proposed:reported_direct_total: Missing or ambiguous number is held and never zero-filled.

I-003: Scope is not supported by supplied evidence; group held.

Numeric source review: 0 of 20 readings have recorded human confirmation. AI or synthetic checks do not count as human confirmation.

Please respond by issue ID, stating whether each item is accepted, needs further evidence, or remains disputed. A focused reinspection can address differing observations at the named locations.